Document Title: Details from the CAB:

|  |  |
| --- | --- |
| Name and address: |  |
| Authorized Representative: |  |
| Applicant ENAS ID: |  |
| Date(s) of assessment: |  |

|  |  |  |  |
| --- | --- | --- | --- |
| Inspection body type: | [ ]  A | [ ]  B | [ ]  C |
| CAB with several locations: | [ ]  Yes | [ ]  No |
| Assessed locations: |
| (Name)/Address: |  |  |
| (Name)/Address: |  |  |
| (Name)/Address: |  |  |
| **Details of the assessment team:** |
| Lead Assessor: |  |
| Quality Assessor(s): |  |
| Technical assessor(s)/expert(s): |  |
| Observers or others: | **-** |

**Inspection Body Instructions**:

* The first and the second column refers to the related standard text of ISO/IEC 17020:2012. The notes are not requirements.
* This checklist must be completed and submitted as part of the application for accreditation in order to help both the IB and assessor(s) prepare for the assessment.
* Complete the document reference identifiers in the checklist's third column for all requirements. The appropriate “reference” must identify the document (quality manual, laboratory manual, SOPs, etc) and include an indication to the appropriate portion(s) of the relevant document (page number, section number, etc.) The quality system documentation and supporting records must be available for the assessor's review.

**ENAS Assessor Instructions:**

* Review the IB’s documented management system to verify compliance with the applicable ISO/IEC 17020 documentation requirements. Assess to verify that the documented management system is indeed implemented as described.
* Place a tick mark in the (C: Compliant / NC: Not Compliant / NA: Not Applicable) space for each checklist item. Please note that for all N/A indications, you must document the reason why this requirement is N/A in the comments section.
* Record comments related to any requirement on the space provided. Record comments related to tests on separate sheets. All deficiencies must be identified and explained in the Assessment report. Assess the IB’s technical competence to perform specific inspections.

IMPORTANT NOTE:An asterisk (\*) in the comments section indicates that the assessor must document the specific traceable objective evidence reviewed in association with that requirement. Objective evidence information is mandatory for those clauses.

| **Clause** |  | **- Implementation -****Documents/Records references** | **Reserved for ENAS Assessors ONLY** |
| --- | --- | --- | --- |
| **C** | **NC** | **NA** | **Comments** |
| **4** | **General requirements** |  |  |  |  |  |
| **4.1** | **Impartiality and independence** |  |  |  |  |  |
| 4.1.1 | Inspection activities shall be undertaken impartially. |  |  |  |  |  |
| 4.1.2 | The inspection body (IB) shall be responsible for the impartiality of its inspection activities and shall not allow commercial, financial or other pressures to compromise impartiality. |  |  |  |  |  |
| 4.1.3 | The IB shall identify risks to its impartiality on an ongoing basis. This shall include those risks that arise from its activities, or from its relationships, or from the relationships of its personnel. However, such relationships do not necessarily present an IB with a risk to impartiality.NOTE A relationship that threatens the impartiality of the IB can be based on ownership, governance, management, personnel, shared resources, finances, contracts, marketing (including branding), and payment of a sales commission or other inducement for the referral of new clients, etc. |  |  |  |  |  |
| 4.1.4 | If a risk to impartiality is identified, the IB shall be able to demonstrate how it eliminates or minimizes such risk. |  |  |  |  |  |
| 4.1.5 | The IB shall have top management commitment to impartiality. |  |  |  |  |  |
| 4.1.6 | The IB shall be independent to the extent that is required with regard to the conditions under which it performs its services. Depending on these conditions, it shall meet the minimum requirements stipulated in Annex A, as outlined below.1. An IB providing third party inspections shall meet the type A requirements of Clause A.1 (third party IB).
2. An IB providing first party inspections, second party inspections, or both, which forms a separate and identifiable part of an organization involved in the design, manufacture, supply, installation, use or maintenance of the items it inspects and which supplies inspection services only to its parent organization (in-house IB) shall meet the type B requirements of Clause A.2.
3. An IB providing first party inspections, second party inspections, or both, which forms an identifiable but not necessarily a separate part of an organization involved in the design, manufacture, supply, installation, use or maintenance of the items it inspects and which supplies inspection services to its parent organization or to other parties, or to both, shall meet the type C requirements of Clause A.3.
 |  |  |  |  |  |
| **4.2** | **Confidentiality** |  |  |  |  |  |
| 4.2.1 | The IB shall be responsible, through legally enforceable commitments, for the management of all information obtained or created during the performance of inspection activities. The IB shall inform the client, in advance, of the information it intends to place in the public domain. Except for information that the client makes publicly available, or when agreed between the IB and the client (e.g. for the purpose of responding to complaints), all other information is considered proprietary information and shall be regarded as confidential.NOTE Legally enforceable commitments can be, for example, contractual agreements. |  |  |  |  |  |
| 4.2.2 | When the IB is required by law or authorized by contractual commitments to release confidential information, the client or individual concerned shall, unless prohibited by law, be notified of the information provided. |  |  |  |  |  |
| 4.2.3 | Information about the client obtained from sources other than the client (e.g. complainant, regulators) shall be treated as confidential. |  |  |  |  |  |
| **5** | **Structural requirements** |  |  |  |  |  |
| **5.1** | **Administrative requirements** |  |  |  |  |  |
| 5.1.1 | The IB shall be a legal entity, or a defined part of a legal entity, such that it can be held legally responsible for all its inspection activities.NOTE A governmental IB is deemed to be a legal entity on the basis of its governmental status. |  |  |  |  |  |
| 5.1.2 | An IB that is part of a legal entity involved in activities other than inspection shall be identifiable within that entity. |  |  |  |  |  |
| 5.1.3 | The IB shall have documentation which describes the activities for which it is competent. |  |  |  |  |  |
| 5.1.4 | The IB shall have adequate provision (e.g. insurance or reserves) to cover liabilities arising from its operations.NOTE The liability can be assumed by the State in accordance with national laws, or by the organization of which the IB forms a part. |  |  |  |  |  |
| 5.1.5 | The IB shall have documentation describing the contractual conditions under which it provides the inspection, except when it provides inspection services to the legal entity of which it is a part. |  |  |  |  |  |
| **5.2** | **Organization and management** |  |  |  |  |  |
| 5.2.1 | The IB shall be structured and managed so as to safeguard impartiality. |  |  |  |  |  |
| 5.2.2 | The IB shall be organized and managed so as to enable it to maintain the capability to perform its inspection activities.NOTE Inspection schemes can require that the IB participates in the exchange of technical experience with other IB in order to maintain this capability. |  |  |  |  |  |
| 5.2.3 | The IB shall define and document the responsibilities and reporting structure of the organization. |  |  |  |  |  |
| 5.2.4 | Where the IB forms a part of a legal entity performing other activities, the relationship between these other activities and inspection activities shall be defined. |  |  |  |  |  |
| 5.2.5 | The IB shall have available one or more person(s) as technical manager(s) who have overall responsibility to ensure that the inspection activities are carried out in accordance with this International Standard.NOTE This person fulfilling this function does not always have the title of technical manager. The person(s) fulfilling this function shall be technically competent and experienced in the operation of the IB. Where the IB has more than one technical manager, the specific responsibilities of each manager shall be defined and documented. |  |  |  |  |  |
| 5.2.6 | The IB shall have one or more named person(s) who will deputize in the absence of any technical manager responsible for ongoing inspection activities. |  |  |  |  |  |
| 5.2.7 | The IB shall have a job description or other documentation for each position category within its organization involved in inspection activities. |  |  |  |  |  |
| **6** | Resource requirements |  |  |  |  |  |
| **6.1** | Personnel |  |  |  |  |  |
| 6.1.1 | The IB shall define and document the competence requirements for all personnel involved in inspection activities, including requirements for education, training, technical knowledge, skills and experience.NOTE The competence requirements can be part of the job description or other documentation mentioned in 5.2.7. |  |  |  |  |  |
| 6.1.2 | The IB shall employ, or have contracts with, a sufficient number of persons with the required competencies, including, where needed, the ability to make professional judgements, to perform the type, range and volume of its inspection activities. |  |  |  |  |  |
| 6.1.3 | The personnel responsible for inspection shall have appropriate qualifications, training, experience and a satisfactory knowledge of the requirements of the inspections to be carried out. They shall also have relevant knowledge of the following:* the technology used for the manufacture of the products inspected, the operation of processes and the delivery of services;
* the way in which products are used, processes are operated and services are delivered;
* any defects which may occur during the use of the product, any failures in the operation of the process and any deficiencies in the delivery of services.

They shall understand the significance of deviations found with regard to the normal use of the products, the operation of the processes and the delivery of services. |  |  |  |  |  |
| 6.1.4 | The IB shall make clear to each person their duties, responsibilities and authorities. |  |  |  |  |  |
| 6.1.5 | The IB shall have documented procedures for selecting, training, formally authorizing, and monitoring inspectors and other personnel involved in inspection activities. |  |  |  |  |  |
| 6.1.6 | The documented procedures for training (see 6.1.5) shall address the following stages:1. an induction period;
2. a mentored working period with experienced inspectors;
3. continuing training to keep pace with developing technology and inspection methods.
 |  |  |  |  |  |
| 6.1.7 | The training required shall depend upon the ability, qualifications and experience of each inspector and other personnel involved in inspection activities, and upon the results of monitoring (see 6.1.8). |  |  |  |  |  |
| 6.1.8 | Personnel familiar with the inspection methods and procedures shall monitor all inspectors and other personnel involved in inspection activities for satisfactory performance. Results of monitoring shall be used as a means of identifying training needs (see 6.1.7).NOTE Monitoring can include a combination of techniques, such as on-site observations, report reviews, interviews, simulated inspections and other techniques to assess performance, and will depend on the nature of inspection activities. |  |  |  |  |  |
| 6.1.9 | Each inspector shall be observed on-site, unless there is sufficient supporting evidence that the inspector is continuing to perform competently.NOTE It is expected that on-site observations are performed in a way that minimizes the disturbance of the inspections, especially from the client's viewpoint. |  |  |  |  |  |
| 6.1.10 | The IB shall maintain records of monitoring, education, training, technical knowledge, skills, experience and authorization of each member of its personnel involved in inspection activities. |  |  |  |  |  |
| 6.1.11 | The personnel involved in inspection activities shall not be remunerated in a way that influences the results of inspections. |  |  |  |  |  |
| 6.1.12 | All personnel of the IB, either internal or external, that could influence the inspection activities shall act impartially. |  |  |  |  |  |
| 6.1.13. | All personnel of the IB, including sub-contractors, personnel of external bodies, and individuals acting on the IB's behalf, shall keep confidential all information obtained or created during the performance of the inspection activities, except as required by law. |  |  |  |  |  |
| **6.2** | **Facilities and equipment** |  |  |  |  |  |
| 6.2.1 | The IB shall have available, suitable and adequate facilities and equipment to permit all activities associated with the inspection activities to be carried out in a competent and safe manner.NOTE The IB need not be the owner of the facilities or equipment that it uses. Facilities and equipment can be borrowed, rented, hired, leased or provided by another party (e.g. the manufacturer or installer of the equipment). However, the responsibility for the suitability and the calibration status of the equipment used in inspection, whether owned by the IB or not, lies solely with the IB. |  |  |  |  |  |
| 6.2.2 | The IB shall have rules for the access to, and the use of, specified facilities and equipment used to perform inspections. |  |  |  |  |  |
| 6.2.3 | The IB shall ensure the continued suitability of the facilities and the equipment mentioned in 6.2.1 for their intended use. |  |  |  |  |  |
| 6.2.4 | All equipment having a significant influence on the results of the inspection shall be defined and, where appropriate, uniquely identified |  |  |  |  |  |
| 6.2.5 | All equipment (see 6.2.4) shall be maintained in accordance with documented procedures and instructions. |  |  |  |  |  |
| 6.2.6 | Where appropriate, measurement equipment having a significant influence on the results of the inspection shall be calibrated before being put into service, and thereafter calibrated according to an established programme. |  |  |  |  |  |
| 6.2.7 | The overall programme of calibration of equipment shall be designed and operated so as to ensure that, wherever applicable, measurements made by the IB are traceable to national or international standards of measurement, where available. Where traceability to national or international standards of measurement is not applicable, the IB shall maintain evidence of correlation or accuracy of inspection results. |  |  |  |  |  |
| 6.2.8 | Reference standards of measurement held by the IB shall be used for calibration only and for no other purpose. Reference standards of measurement shall be calibrated providing traceability to a national or international standard of measurement. |  |  |  |  |  |
| 6.2.9 | Where relevant, equipment shall be subjected to in-service checks between regular recalibrations. |  |  |  |  |  |
| 6.2.10 | Reference materials shall, where possible, be traceable to national or international reference materials, where they exist. |  |  |  |  |  |
| 6.2.11 | Where relevant for the outcome of inspection activities, the IB shall have procedures for the following:* selection and approval of suppliers;
* verification of incoming goods and services;
* ensuring appropriate storage facilities.
 |  |  |  |  |  |
| 6.2.12 | Where applicable, the condition of stored items shall be assessed at appropriate intervals to detect deterioration. |  |  |  |  |  |
| 6.2.13 | If the IB uses computers or automated equipment in connection with inspections, it shall ensure that:1. computer software is adequate for use;

NOTE This can be done by the following:* validation of calculations before use;
* periodic revalidation of related hardware and software;
* revalidation whenever changes are made to related hardware or software;
* software updates implemented as required.
1. procedures are established and implemented for protecting the integrity and security of data;
2. computer and automated equipment is maintained in order to ensure proper functioning.
 |  |  |  |  |  |
| 6.2.14 | The IB shall have documented procedures for dealing with defective equipment. Defective equipment shall be removed from service by segregation, prominent labeling or marking. The IB shall examine the effect of defects on previous inspections and, when necessary, take appropriate corrective action. |  |  |  |  |  |
| 6.2.15 | Relevant information on the equipment, including software, shall be recorded. This shall include identification and, where appropriate, information on calibration and maintenance. |  |  |  |  |  |
| **6.3** | **Subcontracting** |  |  |  |  |  |
| 6.3.1 | The IB shall itself normally perform the inspections that it contracts to undertake. Where an IB subcontracts any part of the inspection, it shall ensure and be able to demonstrate that the subcontractor is competent to perform the activities in question and, where applicable, complies with the relevant requirements stipulated in this International Standard or in other relevant conformity assessment standards.NOTE 1 Reasons to subcontract can include the following:* an unforeseen or abnormal overload;
* key inspection staff members being incapacitated;
* key facilities or items of equipment being temporarily unfit for use;
* part of the contract from the client involving inspection not covered by the IB's scope or being beyond the capability or resources of the IB.

NOTE 2 The terms “subcontracting” and “outsourcing” are considered to be synonyms.NOTE 3 Where the IB engages individuals or employees of other organizations to provide additional resources or expertise, these individuals are not considered to be subcontractors provided they are formally contracted to operate under the IB's management system (see 6.1.2). |  |  |  |  |  |
| 6.3.2 | The IB shall inform the client of its intention to subcontract any part of the inspection. |  |  |  |  |  |
| 6.3.3 | Whenever subcontractors carry out work that forms part of an inspection, the responsibility for any determination of conformity of the inspected item with the requirements shall remain with the IB. |  |  |  |  |  |
| 6.3.4 | The IB shall record and retain details of its investigation of the competence of its subcontractors and of their conformity with the applicable requirements of this International Standard or in other relevant conformity assessment standards. The IB shall maintain a register of all subcontractors |  |  |  |  |  |
| **7** | Process requirements |  |  |  |  |  |
| **7.1** | Inspection methods and procedures |  |  |  |  |  |
| 7.1.1 | The IB shall use the methods and procedures for inspection which are defined in the requirements against which inspection is to be performed. Where these are not defined, the IB shall develop specific methods and procedures to be used (see 7.1.3). The IB shall inform the client if the inspection method proposed by the client is considered to be inappropriate.NOTE The requirements against which the inspection is performed are normally specified in regulations, standards or specifications, inspection schemes or contracts. Specifications can include client or in-house requirements. |  |  |  |  |  |
| 7.1.2 | The IB shall have and shall use adequate documented instructions on inspection planning and on sampling and inspection techniques, where the absence of such instructions could jeopardize the effectiveness of the inspection process. Where applicable, the IB shall have sufficient knowledge of statistical techniques to ensure statistically sound sampling procedures and the correct processing and interpretation of results. |  |  |  |  |  |
| 7.1.3 | When the IB has to use inspection methods or procedures which are non-standard, such methods and procedures shall be appropriate and fully documented.NOTE A standard inspection method is one that has been published, for example, in international, regional or national standards, or by reputable technical organizations or by co-operation of several inspection bodies or in relevant scientific text or journals. This means that methods developed by any other means, including by the IB itself or by the client, are considered to be non-standard methods. |  |  |  |  |  |
| 7.1.4 | All instructions, standards or written procedures, worksheets, check lists and reference data relevant to the work of the IB shall be maintained up-to-date and be readily available to the personnel. |  |  |  |  |  |
| 7.1.5 | The IB shall have a contract or work order control system which ensures that:1. work to be undertaken is within its expertise and that the organization has adequate resources to meet the requirements; OTE Resources can include, but are not limited to, facilities, equipment, reference documentation, procedures or human resources.
2. the requirements of those seeking the IB's services are adequately defined and that special conditions are understood, so that unambiguous instructions can be issued to personnel performing the duties to be required;
3. work being undertaken is controlled by regular review and corrective action;
4. the requirements of the contract or work order have been met.
 |  |  |  |  |  |
| 7.1.6 | When the IB uses information supplied by any other party as part of the inspection process, it shall verify the integrity of such information. |  |  |  |  |  |
| 7.1.7 | Observations or data obtained in the course of inspections shall be recorded in a timely manner so as to prevent loss of relevant information. |  |  |  |  |  |
| 7.1.8 | Calculations and data transfers shall be subject to appropriate checks.NOTE Data can include textual material, digital data and anything else that is transferred from one location to another where errors could be introduced. |  |  |  |  |  |
| 7.1.9 | The IB shall have documented instructions for carrying out inspection in a safe manner. |  |  |  |  | \* |
| **7.2** | **Handling inspection items and samples** |  |  |  |  |  |
| 7.2.1 | The IB shall ensure items and samples to be inspected are uniquely identified in order to avoid confusion regarding the identity of such items and samples. |  |  |  |  |  |
| 7.2.2 | The IB shall establish whether the item to be inspected has been prepared. |  |  |  |  |  |
| 7.2.3 | Any apparent abnormalities notified to, or noticed by, the inspector shall be recorded. Where there is any doubt as to the item's suitability for the inspection to be carried out, or where the item does not conform to the description provided, the IB shall contact the client before proceeding. |  |  |  |  |  |
| 7.2.4 | The IB shall have documented procedures and appropriate facilities to avoid deterioration or damage to inspection items while under its responsibility. |  |  |  |  |  |
| **7.3** | **Inspection records** |  |  |  |  |  |
| 7.3.1 | The IB shall maintain a record system (see 8.4) to demonstrate the effective fulfilment of the inspection procedures and to enable an evaluation of the inspection. |  |  |  |  |  |
| 7.3.2 | The inspection report or certificate shall be internally traceable to the inspector(s) who performed the inspection. |  |  |  |  |  |
| **7.4** | **Inspection reports and inspection certificates** |  |  |  |  |  |
| 7.4.1 | The work carried out by the IB shall be covered by a retrievable inspection report or inspection certificate. |  |  |  |  |  |
| 7.4.2 | Any inspection report/certificate shall include all of the following:1. identification of the issuing body;
2. unique identification and date of issue;
3. date(s) of inspection;
4. identification of the item(s) inspected;
5. signature or other indication of approval, by authorized personnel;
6. a statement of conformity where applicable;
7. the inspection results, except where detailed in accordance with 7.4.3.

NOTE Optional elements that can be included in inspection reports or certificates are listed in Annex B. |  |  |  |  |  |
| 7.4.3 | An IB shall issue an inspection certificate that does not include the inspection results [see 7.4.2 g)] only when the IB can also produce an inspection report containing the inspection results, and when both the inspection certificate and inspection report are traceable to each other. |  |  |  |  |  |
| 7.4.4 | All information listed in 7.4.2 shall be reported correctly, accurately, and clearly. Where the inspection report or inspection certificate contains results supplied by subcontractors, these results shall be clearly identified. |  |  |  |  |  |
| 7.4.5 | Corrections or additions to an inspection report or inspection certificate after issue shall be recorded in accordance with the relevant requirements of this subclause (7.4). An amended report or certificate shall identify the report or certificate replaced. |  |  |  |  |  |
| **7.5** | **Complaints and appeals** |  |  |  |  |  |
| 7.5.1 | The IB shall have a documented process to receive, evaluate and make decisions on complaints and appeals. |  |  |  |  | \* |
| 7.5.2 | A description of the handling process for complaints and appeals shall be available to any interested party upon request. |  |  |  |  |  |
| 7.5.3 | Upon receipt of a complaint, the IB shall confirm whether the complaint relates to inspection activities for which it is responsible and, if so, shall deal with it. |  |  |  |  |  |
| 7.5.4 | The IB shall be responsible for all decisions at all levels of the handling process for complaints and appeals. |  |  |  |  |  |
| 7.5.5 | Investigation and decision on appeals shall not result in any discriminatory actions. |  |  |  |  |  |
| **7.6** | **Complaints and appeals process** |  |  |  |  |  |
| 7.6.1 | The handling process for complaints and appeals shall include at least the following elements and methods:1. a description of the process for receiving, validating, investigating the complaint or appeal, and deciding what actions are to be taken in response to it;
2. tracking and recording complaints and appeals, including actions undertaken to resolve them;
3. ensuring that any appropriate action is taken.
 |  |  |  |  |  |
| 7.6.2 | The IB receiving the complaint or appeal shall be responsible for gathering and verifying all necessary information to validate the complaint or appeal. |  |  |  |  |  |
| 7.6.3 | Whenever possible, the IB shall acknowledge receipt of the complaint or appeal, and shall provide the complainant or appellant with progress reports and the outcome. |  |  |  |  |  |
| 7.6.4 | The decision to be communicated to the complainant or appellant shall be made by, or reviewed and approved by, individual(s) not involved in the original inspection activities in question. |  |  |  |  |  |
| 7.6.5 | Whenever possible, the IB shall give formal notice of the end of the complaint and appeals handling process to the complainant or appellant. |  |  |  |  |  |
| **8** | **Management system requirements** |  |  |  |  |  |
| **8.1** | **Options** |  |  |  |  |  |
| 8.1.1 | General |  |  |  |  |  |
|  | The IB shall establish and maintain a management system that is capable of achieving the consistent fulfilment of the requirements of this International Standard in accordance with either Option A or Option B. |  |  |  |  |  |
| 8.1.2 | Option AThe management system of the IB shall address the following:* management system documentation (e.g. manual, policies, definition of responsibilities, see 8.2);
* control of documents (see 8.3);
* control of records (see 8.4);
* management review (see 8.5);
* internal audit (see 8.6);
* corrective actions (see 8.7);
* preventive actions (see 8.8);
* complaints and appeals (see 7.5 and 7.6).
 |  |  |  |  |  |
| 8.1.3 | Option BAn IB that has established and maintains a management system, in accordance with the requirements of ISO 9001, and that is capable of supporting and demonstrating the consistent fulfilment of the requirements of this International Standard, fulfils the management system clause requirements (see 8.2 to 8.8). |  |  |  |  |  |
| **8.2** | **Management system documentation (Option A)** |  |  |  |  |  |
| 8.2.1 | The IB's top management shall establish, document, and maintain policies and objectives for fulfilment of this International Standard and shall ensure the policies and objectives are acknowledged and implemented at all levels of the IB's organization. |  |  |  |  |  |
| 8.2.2 | The top management shall provide evidence of its commitment to the development and implementation of the management system and its effectiveness in achieving consistent fulfilment of this International Standard. |  |  |  |  | \* |
| 8.2.3 | The IB's top management shall appoint a member of management who, irrespective of other responsibilities, shall have responsibility and authority that include the following:1. ensuring that processes and procedures needed for the management system are established, implemented and maintained; and
2. reporting to top management on the performance of the management system and any need for improvement.
 |  |  |  |  |  |
| 8.2.4 | All documentation, processes, systems, records, etc. related to the fulfilment of the requirements of this International Standard shall be included, referenced, or linked to documentation of the management system. |  |  |  |  |  |
| 8.2.5 | All personnel involved in inspection activities shall have access to the parts of the management system documentation and related information that are applicable to their responsibilities. |  |  |  |  |  |
| **8.3** | **Control of documents (Option A)** |  |  |  |  |  |
| 8.3.1 | The IB shall establish procedures to control the documents (internal and external) that relate to the fulfilment of this International Standard. |  |  |  |  |  |
| 8.3.2 | The procedures shall define the controls needed to:1. approve documents for adequacy prior to issue;
2. review and update (as necessary) and re-approve documents;
3. ensure that changes and the current revision status of documents are identified;
4. ensure that relevant versions of applicable documents are available at points of use;
5. ensure that documents remain legible and readily identifiable;
6. ensure that documents of external origin are identified and their distribution controlled;
7. prevent the unintended use of obsolete documents, and apply suitable identification to them if they are retained for any purpose.

NOTE Documentation can be in any form or type of medium, and includes proprietary and in-house developed software. |  |  |  |  |  |
| **8.4** | **Control of records (Option A)** |  |  |  |  |  |
| 8.4.1 | The IB shall establish procedures to define the controls needed for the identification, storage, protection, retrieval, retention time and disposition of its records related to the fulfilment of this International Standard. |  |  |  |  |  |
| 8.4.2 | The IB shall establish procedures for retaining records for a period consistent with its contractual and legal obligations. Access to these records shall be consistent with the confidentiality arrangements. |  |  |  |  |  |
| **8.5** | **Management review (Option A)** |  |  |  |  |  |
| 8.5.1 | General |  |  |  |  |  |
| 8.5.1.1 | The IB's top management shall establish procedures to review its management system at planned intervals, in order to ensure its continuing suitability, adequacy and effectiveness, including the stated policies and objectives related to the fulfilment of this International Standard. |  |  |  |  | \* |
| 8.5.1.2 | These reviews shall be conducted at least once a year. Alternatively, a complete review broken up into segments (a rolling review) shall be completed within a 12-month time frame. |  |  |  |  |  |
| 8.5.1.3 | Records of reviews shall be maintained. |  |  |  |  | \* |
| 8.5.2 | Review inputsThe input to the management review shall include information related to the following:1. results of internal and external audits;
2. feedback from clients and interested parties related to the fulfilment of this International Standard;
3. the status of preventive and corrective actions;
4. follow-up actions from previous management reviews;
5. the fulfilment of objectives;
6. changes that could affect the management system;
7. appeals and complaints.
 |  |  |  |  |  |
| 8.5.3 | Review outputsThe outputs from the management review shall include decisions and actions related to:1. improvement of the effectiveness of the management system and its processes;
2. improvement of the IB related to the fulfilment of this International Standard;
3. resource needs.
 |  |  |  |  |  |
| **8.6** | **Internal Audits (Option A)** |  |  |  |  |  |
| 8.6.1 | The IB shall establish procedures for internal audits to verify that it fulfils the requirements of this International Standard and that the management system is effectively implemented and maintained.NOTE ISO 19011 provides guidelines for conducting internal audits. |  |  |  |  |  |
| 8.6.2 | An audit programme shall be planned, taking into consideration the importance of the processes and areas to be audited, as well as the results of previous audits. |  |  |  |  |  |
| 8.6.3 | The IB shall conduct periodic internal audits covering all procedures in a planned and systematic manner, in order to verify that the management system is implemented and is effective. |  |  |  |  |  |
| 8.6.4 | Internal audits shall be performed at least once every 12 months. The frequency of internal audits may be adjusted depending on the demonstrable effectiveness of the management system and its proven stability. |  |  |  |  |  |
| 8.6.5 | The IB shall ensure that:1. internal audits are conducted by qualified personnel knowledgeable in inspection, auditing and the requirements of this International Standard;
2. auditors do not audit their own work;
3. personnel responsible for the area audited are informed of the outcome of the audit;
4. any actions resulting from internal audits are taken in a timely and appropriate manner;
5. any opportunities for improvement are identified;
6. the results of the audit are documented.
 |  |  |  |  |  |
| **8.7** | **Corrective actions (Option A)** |  |  |  |  |  |
| 8.7.1 | The IB shall establish procedures for identification and management of nonconformities in its operations. |  |  |  |  | \* |
| 8.7.2 | The IB shall also, where necessary, take actions to eliminate the causes of nonconformities in order to prevent recurrence. |  |  |  |  |  |
| 8.7.3 | Corrective actions shall be appropriate to the impact of the problems encountered. |  |  |  |  |  |
| 8.7.4 | The procedures shall define requirements for the following:1. identifying nonconformities;
2. determining the causes of nonconformity;
3. correcting nonconformities;
4. evaluating the need for actions to ensure that nonconformities do not recur;
5. determining the actions needed and implementing them in a timely manner;
6. recording the results of actions taken;
7. reviewing the effectiveness of corrective actions.
 |  |  |  |  |  |
| **8.8** | **Preventive actions (Option A)** |  |  |  |  |  |
| 8.8.1 | The IB shall establish procedures for taking preventive actions to eliminate the causes of potential nonconformities. |  |  |  |  |  |
| 8.8.2 | Preventive actions taken shall be appropriate to the probable impact of the potential problems. |  |  |  |  |  |
| 8.8.3 | The procedures for preventive actions shall define requirements for the following:1. identifying potential nonconformities and their causes;
2. evaluating the need for action to prevent the occurrence of nonconformities;
3. determining and implementing the action needed;
4. recording the results of actions taken;
5. reviewing the effectiveness of the preventive actions taken.

NOTE The procedures for corrective and preventive actions do not necessarily have to be separate. |  |  |  |  |  |

|  |
| --- |
| **Results of document/record review:** |
| (Possibility to report nonconformities) |
| **Total number of nonconformitieS:**  |  | **Number of observations:** |  |
| **Maximum time allowed for submitting satisfactory corrective actions:** | **Four Weeks only** |
| **Recommendation to Proceed for:****On-site Assessment:** ☐ **Pre Assessment:** ☐ **Rejected** ☐Remark (if any):  |
| **Lead Assessor Name and signature:** | **Date:** |