## Sheet1
|  |  | Metrological Traceability Sheet |  | ID. No.: ACF 11-34
|  |  | Revision No: 1 | Revision Date: 28-10-2018
CAB Name
ENAS ID
Date:
Reference standards / Working standards / Critical equipment | CRM/ working standard/ Equipment ID | Measurand (physical or chemical quantity) | Range / Nominal value | Accuracy / Class / Expected uncertainty | Frequency of calibration and/or Verification | Calibration service provider / CRM producer | Status of Calibration service provider / CRM producer | CAB additional comments | Assessor Name | Comments of assessor on compliance with ENAS Requirements
Set of weights |  | Conventional mass | 1 g up to 1 kg | Class E2 | 2 years | Name: XXX | --- | -
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---
---

## Sheet2
---
NMI covered by CIPM-MRA
Accredited lab by ENAS or ILAC-MRA signatories (for this specific parameter/ calibration)
NMI not covered by CIPM-MRA, but suitable for the intended use.
Not accredited lab, but suitable for the intended use
Accredited CRM producer (ISO/IEC 17034)
None accredited CRM producer but suitable for the intended use